SOLAR PLANT SCADA DASHBOARD PARAMETERS

- Plant Overview Dashboard

Common parameters

- Total Plant Capacity (MW)

- Current Plant Output (MW)

- Daily Energy Generation (kWh/MWh)

- Monthly Generation

- Yearly Generation

- Lifetime Energy

- Plant Availability (%)

- Grid Availability (%)

- PR (Performance Ratio)

- CUF (Capacity Utilization Factor)

- Specific Yield (kWh/kWp)

- Export Energy

- Import Energy

- Net Energy

- CO₂ Savings

- Revenue Estimation

- Current Weather Status

- Alarm Count

- Online/Offline Equipment Count

- Active Power

- Reactive Power

- Plant Power Factor

- Grid Frequency

- Plant Status

- Sunrise/Sunset

- Irradiance Summary

- Inverter Monitoring Dashboard

AC Side Parameters

- AC Voltage (L-L, L-N)

- AC Current

- AC Power (kW)

- AC Energy (kWh)

- Frequency

- Power Factor

- Reactive Power

- Apparent Power

- Phase Voltages

- Phase Currents

- Inverter Efficiency

- THD (Total Harmonic Distortion)

DC Side Parameters

- DC Voltage

- DC Current

- DC Power

- MPPT Voltage

- MPPT Current

- String Input Values

Operational Parameters

- Inverter Temperature

- Heat Sink Temperature

- Fan Status

- DSP Status

- Running Hours

- Start/Stop Status

- Operating Mode

- Grid Synchronization Status

- Derating Status

- Fault Codes

- Warning Codes

- Communication Status

- String Monitoring Box (SMB) Dashboard

Parameters

- Individual String Current

- String Voltage

- String Power

- String Health

- Fuse Status

- SPD (Surge Protection Device) Status

- Combiner Temperature

- String Imbalance

- Open Circuit Detection

- Reverse Current Detection

- String Offline Alarm

- Weather Monitoring Station Dashboard

Solar Irradiance Parameters

- GHI (Global Horizontal Irradiance)

- POA (Plane of Array Irradiance)

- Diffuse Irradiance

- Accumulated Irradiance

- Daily Solar Radiation

Environmental Parameters

- Ambient Temperature

- Module Temperature

- Wind Speed

- Wind Direction

- Humidity

- Rainfall

- Barometric Pressure

- Dust/Soiling Index

Weather Device Status

- Pyranometer Health

- Sensor Calibration Status

- Sensor Communication Status

- Grid & Metering Dashboard

Electrical Grid Parameters

- Grid Voltage

- Grid Current

- Grid Frequency

- Active Power

- Reactive Power

- Apparent Power

- Power Factor

- Energy Export

- Energy Import

- Net Metering Values

- Grid Synchronization

- Grid Failure Status

- Islanding Status

- Utility Breaker Status

Revenue Meter Data

- Import kWh

- Export kWh

- TOD (Time of Day) Energy

- Billing Parameters

- Demand Values

- Transformer Monitoring Dashboard

Parameters

- Transformer Temperature

- Oil Temperature

- Winding Temperature

- Tap Position

- HV Voltage

- LV Voltage

- Transformer Current

- Transformer Load %

- Oil Level

- Buchholz Relay Status

- Pressure Relief Status

- Cooling Fan Status

- Fire Alarm Status

- Transformer Efficiency

- Switchyard / HT Panel Dashboard

Parameters

- Breaker Open/Close Status

- Isolator Status

- RMU Status

- Relay Trip Status

- Protection Relay Alarms

- Bus Voltage

- Bus Current

- Feeder Status

- Earth Fault

- Overcurrent Fault

- Differential Protection

- SCB Health

- Annunciator Alarms

- Battery Energy Storage System (BESS) Dashboard

Battery Parameters

- Battery SOC (State of Charge)

- SOH (State of Health)

- Battery Voltage

- Battery Current

- Battery Power

- Cell Temperature

- Cell Voltage

- Charge/Discharge Status

- Battery Alarms

- Thermal Runaway Alarm

- Battery Cooling Status

- Alarm & Event Dashboard

Alarm Categories:

Critical Alarms

- Inverter Trip

- Grid Failure

- Transformer Trip

- Fire Alarm

- Emergency Shutdown

Warning Alarms

- High Temperature

- Low Irradiance

- Communication Loss

- String Imbalance

Informational Events

- Inverter Start

- Breaker Close

- Set point Changes

- Historical Trends Dashboard

Trend Graphs

- Power vs Time

- Irradiance vs Power

- Temperature vs PR

- Voltage Trends

- Current Trends

- Energy Trends

- Fault History

- Availability Trends

- Performance Analytics Dashboard

KPIs

- PR (Performance Ratio)

- CUF

- Specific Yield

- Inverter Efficiency

- Availability

- Soiling Loss

- Clipping Loss

- Curtailment Loss

- Thermal Loss

- Shading Loss

- DC Losses

- AC Losses

- Remote Control Dashboard

Controls

- Inverter Start/Stop

- Active Power Curtailment

- Reactive Power Control

- PF Set point

- Breaker Open/Close

- Load Shedding

- Emergency Shutdown

- Communication Health Dashboard

Communication Monitoring

- RTU Status

- PLC Status

- Gateway Status

- Modbus Status

- Ethernet Link Status

- Fiber Link Health

- LoRa/Radio Status

- Packet Loss

- Latency

- Device Heartbeat

- Reports & Export Section

Reports

- Daily Generation Report

- Monthly Report

- Alarm Report

- Downtime Report

- PR Report

- Inverter Report

- Weather Report

- Event Logs

- O&M Reports

- Excel/PDF Export

Typical Architecture of Solar SCADA

Field Devices:

- SMBs

- Inverters

- Weather Station

- Meters

- Relays

- RTUs

- PLCs

Communication:

- RS485

- Ethernet

- Fiber

- LoRa

- RF Radios

SCADA Server:

- Historian

- Database

- Alarm Engine

- Analytics

Dashboard:

- Web HMI

- Mobile App

- Control Room Displays

SETTINGS

- General System Settings

Common Settings

- Plant Name

- Plant Capacity

- Plant Location

- Time Zone

- Language

- Unit Settings (kW / MW °C / °F)

- Date & Time Format

- Dashboard Refresh Interval

- Theme (Light/Dark)

- Company Logo

- Auto Logout Timer

- Communication Settings

Protocol Configuration

- Modbus RTU

- Modbus TCP

- OPC-UA

- MQTT

- DNP3

- IEC 61850

- IEC 104

Serial Settings

- COM Port

- Baud Rate

- Parity

- Stop Bits

- Data Bits

- Slave ID

- Polling Timeout

- Retry Count

Network Settings

- IP Address

- Gateway

- DNS

- Subnet Mask

- Ethernet Status

- Wi-Fi Settings

- VPN Settings

LoRa / RF Settings

- Frequency Band

- Spreading Factor

- Air Data Rate

- Transmit Power

- Channel ID

- Network ID

- Device Configuration

Device Settings

- Inverter Configuration

- SMB Configuration

- Weather Station Setup

- Meter Configuration

- PLC/RTU Configuration

- Tracker Controller Setup

- Sensor Calibration

Parameters

- Device Name

- Device Type

- Modbus Address

- Register Mapping

- Communication Status

- Firmware Version

- User Management Settings

User Roles

- Admin

- Operator

- Viewer

- Maintenance Engineer

- OEM Engineer

Features

- Add User

- Delete User

- Password Reset

- Access Permissions

- Role-Based Access

- Session Timeout

- Login History

- Alarm Configuration Settings

Alarm Settings

- High Temperature Threshold

- Low Voltage Alarm

- High Voltage Alarm

- Communication Loss Timeout

- Inverter Fault Alarm

- String Imbalance Threshold

- Grid Failure Alarm

Alarm Actions

- Email Notification

- SMS Alerts

- Auto Shutdown

- Escalation Rules

- Data Logging Settings

Logging Parameters

- Polling Interval

- Data Sampling Rate

- Historian Storage

- Database Retention Period

- CSV Export Interval

- Backup Frequency

Storage Options

- MySQL

- PostgreSQL

- Cloud Storage

- Local SD Card

- InfluxDB

- Backup & Restore Settings

Backup Features

- Auto Backup

- Manual Backup

- Cloud Backup

- Restore Database

- Restore Configurations