WIND MILL SCADA SYSTEM

Introduction

Wind energy is one of the most important renewable energy sources used for electricity generation. Wind turbines convert kinetic energy from wind into electrical energy. Modern wind farms use automation systems for monitoring and controlling turbine operations. These automation systems are based on PLCs, sensors, industrial communication networks, and SCADA systems.

Overview

A wind energy conversion system consists of:

- Rotor blades

- Rotor hub

- Main shaft

- Gearbox

- Generator

- Converter / Inverter

- Transformer

- PLC Controller

- SCADA System

Wind turbines are installed individually or in groups called wind farms. Multiple turbines are connected to substations and finally integrated into the electrical grid.

Wind Turbine Components

Rotor Blades

Rotor blades capture wind energy and rotate according to wind speed

Gearbox

The gearbox increases the rotational speed from the rotor shaft to the generator shaft

Example:

- Rotor speed = 15 RPM

- Generator speed = 1500 RPM

Generator

The generator converts mechanical rotational energy into electrical energy

Converter and Inverter

Power electronic converters stabilize voltage and frequency before supplying power to the grid

Transformer

The transformer increases voltage levels for transmission

Example:

- Turbine output = 690V

- Grid transmission voltage = 33kV

Working Principle of Wind Turbines

The working principle of wind turbine is based on energy conversion

- Wind strikes the turbine blades

- Blades rotate the rotor shaft

- Gearbox increases rotational speed

- Generator produces AC electrical power

- Converter stabilizes electrical output

- Transformer steps up voltage

- Power is transmitted to the grid

Power Flow in Wind Mills

Wind

↓

Rotor Blades

↓

Main Shaft

↓

Gearbox

↓

Generator

↓

Converter/Inverter

↓

Transformer

↓

Collection Line

↓

Substation

↓

Electrical Grid

The turbine first converts wind energy into mechanical energy and then into electrical energy. The generated power is conditioned using converters and sent through transformers and substations before reaching the utility grid.

Data Flow in Wind Turbine SCADA

The SCADA system continuously monitors turbine conditions using sensors and communication networks.

Sensors

↓

I/O Modules

↓

PLC / Turbine Controller

↓

Industrial Ethernet Network

↓

SCADA Server

↓

Control Room HMI

↓

Remote Monitoring Center

PLC-Based Wind Turbine Control

- The PLC performs:

- Turbine start/stop control

- Pitch angle control

- Yaw control

- Alarm handling

- Emergency shutdown

- Safety interlocking

The PLC continuously reads data from sensors and makes decisions according to programmed logic.

Sensors and Field Devices

| Sensor | Purpose |
| --- | --- |
| Anemometer | Wind speed measurement |
| Wind vane | Wind direction measurement |
| Vibration sensor | Detects mechanical vibration |
| Temperature sensor | Monitors bearing and gearbox temperature |
| Pressure sensor | Monitors hydraulic systems |
| CT | Current measurement |
| PT/VT | Voltage measurement |
| Power meter | Measures active/reactive power |

Communication Protocols

| Protocol | Application |
| --- | --- |
| Modbus RTU | Sensor communication |
| Modbus TCP | Ethernet communication |
| CAN Bus | Internal turbine communication |
| Profibus | Industrial field devices |
| Profinet | Industrial Ethernet |
| OPC UA | SCADA integration |
| IEC 61850 | Substation automation |

Substation and Grid Integration

All turbines in a wind farm connected to a collection network. Power from multiple turbines is gathered and transmitted to a substation

Substation performs:

- Voltage step-up

- Grid synchronization

- Protection coordination

- Power export

Modern Developments in Wind SCADA

Modern wind farms use advanced technologies such as:

- Cloud SCADA

- IoT integration

- AI-based predictive maintenance

- Edge computing

- Digital twin system

- Remote diagnostics